## Commands
|  |  | HEADER ON |  | HEADER OFF
Command | Query |  | VERB = 0 | VERB = 1 | VERB 0 | VERB 1
:COMMunicate | ? | bool | :COMM:HEAD 1;VERB 0 | :COMMUNICATE:HEADER 1;VERBOSE 1 | 0;0 | 0;1
:COMMunicate:HEADer { 0 ¦ 1 } | ? | bool | :COMM:HEAD 1 | :COMMUNICATE:HEADER 1 | 0 | 0
:COMMunicate:LOCKout | ? | bool | :COMM:LOCK 0 | :COMMUNICATE:LOCKOUT 0 | 0 | 0
:COMMunicate:REMote | ? | bool | :COMM:REM 1 | :COMMUNICATE:REMOTE 1 | 1 | 1
:COMMunicate:STATus | ? | bitmask |  |  |  | RS232 ONLY
:COMMunicate:VERBose | ? | bool | :COMM:VERB 0 | :COMMUNICATE:VERBOSE 1 | 0 | 1
:DISPlay | ? |  | :DISPITEM1 U,1;ITEM2 I,1;ITEM3 P,1;ITEM4 S,1;ITEM5 FU,1;ITEM6 UTHD,1;ITEM7 LAMB,1;ITEM8 Q,1;ITEM9 FI,1;ITEM10 ITHD,1 | :DISPLAY:NORMAL:ITEM1 U,1;ITEM2 I,1;ITEM3 P,1;ITEM4 S,1;ITEM5 FU,1;ITEM6 UTHD,1;ITEM7 LAMBDA,1;ITEM8 Q,1;ITEM9 FI,1;ITEM10 ITHD,1 | U,1;I,1;P,1;S,1;FU,1;UTHD,1;LAMB,1;Q,1;FI,1;ITHD,1 | U,1;I,1;P,1;S,1;FU,1;UTHD,1;LAMBDA,1;Q,1;FI,1;ITHD,1
:DISPlay:NORMal | ? |  | :DISPITEM1 U,1;ITEM2 I,1;ITEM3 P,1;ITEM4 S,1;ITEM5 FU,1;ITEM6 UTHD,1;ITEM7 LAMB,1;ITEM8 Q,1;ITEM9 FI,1;ITEM10 ITHD,2 | :DISPLAY:NORMAL:ITEM1 U,1;ITEM2 I,1;ITEM3 P,1;ITEM4 S,1;ITEM5 FU,1;ITEM6 UTHD,1;ITEM7 LAMBDA,1;ITEM8 Q,1;ITEM9 FI,1;ITEM10 ITHD,2 | U,1;I,1;P,1;S,1;FU,1;UTHD,1;LAMB,1;Q,1;FI,1;ITHD,1 | U,1;I,1;P,1;S,1;FU,1;UTHD,1;LAMBDA,1;Q,1;FI,1;ITHD,1
:DISPlay[:NORMal]:ITEM<x> <Function> {U¦UPPeak¦UMPeak¦I¦IPPeak¦IMPeak ¦P¦PPPeak¦PMPeak¦S¦Q¦LAMBda¦CFU ¦CFI¦PHI¦FU¦FI¦UTHD¦ITHD¦MATH¦MCR} [,<Element>=1] | ? | 0<x<11 |  |  |  | Element = 1 (If <Element> is omitted, the element is set to 1) (For the GPM-8310, only set to 1 or omitted) |  | pag 165
:DISPlay:INTegrate:ITEM<x> | [5 empty] | 2 < x < 11
:DISPlay:PAGE {MEASurement¦ENLArge¦INTEgrator¦ SYSTem_INFO¦SYSTem_CONFig¦SETUp¦ AVERage¦VA_RANGe_CONFig¦EXT_RANGe_CONFig¦RATIo¦EXTernal¦SAVE_LOAD ¦OPTIon_DA¦GRAPh¦HARMonic_GRAPh¦ HARMonic_LIST_GRAPh¦HARDCOPY¦SCPI¦MATH} |  |  | :DISP:PAGE MEASUREMENT | :DISPLAY:PAGE MEASUREMENT | MEASUREMENT | MEASUREMENT
:INPut |  |  | CFAC 3;WIR P1W2;MODE ACDC;:VOLT:RANG 600.0E+00;AUTO 0;:CURR:RANG 20.000E+00;AUTO 0;SRAT:ELEM1 10.000;:SCAL 0;VT:ELEM1 1.000;:SCAL:CT:ELEM1 1.000;:SCAL:SFAC:ELEM1 1.000;:SYNC VOLT;FILT:LINE 0;FREQ 0 | :INPUT:CFACTOR 3;WIRING P1W2;MODE ACDC;VOLTAGE:RANGE 600.0E+00;AUTO 0;:INPUT:CURRENT:RANGE 20.000E+00;AUTO 0;SRATIO:ELEMENT1 10.000;:INPUT:SCALING:STATE 0;VT:ELEMENT1 1.000;:INPUT:SCALING:CT:ELEMENT1 1.000;:INPUT:SCALING:SFACTOR:ELEMENT1 1.000;:INPUT:SYNCHRONIZE VOLTAGE;FILTER:LINE 0;FREQUENCY 0 | 3;P1W2;DC;15.0E+00;0;20.0E-03;1;10.000;0;1.000;1.000;1.000;CURR;0;0 | 3;P1W2;DC;15.0E+00;0;20.0E-03;1;10.000;0;1.000;1.000;1.000;CURRENT;0;0
[:INPut]:CFACtor {3¦6¦A6} |  |  | CFAC 3 | :INPUT:CFACTOR 3 | 3
[:INPut]:WIRing {P1W2} |  |  | P1W2 |  |  |  | Single-phase, two-wire system. (For the GPM-8310, the wiring system is fixed to P1W2)
[:INPut]:MODE {DC¦AC/RMS¦ACDC¦ VMEan} |  |  | :MODE ACDC | :INPUT:MODE ACDC | ACDC | ACDC
[:INPut]:VOLTage |  |  | :VOLT:RANG 600.0E+00;AUTO 0 | :INPUT:VOLTAGE:RANGE 600.0E+00;AUTO 0 | 600.0E+00;AUTO 0 | 600.0E+00;AUTO 0
[:INPut]:VOLTage:RANGe |  |  | :VOLT:RANG 600.0E+00 | :INPUT:VOLTAGE:RANGE 600.0E+00 | 600.0E+00 | 600.0E+00
[:INPut]:VOLTage:AUTO |  |  | :VOLT:AUTO 0 | :INPUT:VOLTAGE:AUTO 0 | 0 | 0
[:INPut]:VOLTage:CONFig {ALL¦<Voltage>[,Voltage]…} |  |  | :VOLT:CONF 600.0E+00 | :INPUT:VOLTAGE:CONFIG 600.0E+00 | 600.0E+00 | 600.0E+00 | Sets or returns the valid voltage range.
[:INPut]:VOLTage:POJump {OFF¦<Voltage>} |  |  | :INPUT:VOLTAGE:POJUMP OFF | :INPUT:VOLTAGE:POJUMP OFF | OFF | OFF | Sets or returns the jump destination range that is used when a voltage peak over-range occurs.
[:INPut]:CURRent |  |  | :CURR:RANG 20.000E+00;AUTO 0;SRAT:ELEM1 10.000 | :INPUT:CURRENT:RANGE 20.000E+00;AUTO 0;SRATIO:ELEMENT1 10.000 | 20.000E+00;AUTO 0;10.000 | 20.000E+00;AUTO 0;10.000
[:INPut]:CURRent:RANGe {<Current>¦(EXTernal<x>,<Voltage>)} |  | <x> | 1,2(EXT1,EXT2)
|  | <Current> | 5, 10, 20, 50, 100, 200, 500(mA) 1, 2, 5, 10, 20(A) when the crest factor is set to 3. 2.5, 5, 10, 25, 50, 100, 250(mA) 0.5, 1, 2.5, 5, 10(A) when the crest factor is set to 6 or 6A
|  | EXTernal1 <Voltage> | 2.5, 5, 10(V) when the crest factor is set to 3. 1.25, 2.5, 5(V) when the crest factor is set to 6 or 6A.
|  | EXTernal2 <Voltage> | 50, 100, 200, 500,(mV), 1, 2(V) when the crest factor is set to 3. 25, 50, 100, 250,(mV), 0.5, 1(V) when the crest factor is set to 6 or 6A.
|  |  | :CURR:RANG 20.000E+00 | :INPUT:CURRENT:RANGE 20.000E+00 | 20.000E+00
[:INPut]:CURRent:AUTO {<Boolean>¦OFF¦ON} |  |  | :CURR:AUTO 0 | :INPUT:CURRENT:AUTO 0 | 0
[:INPut]:CURRent:CONFig {ALL¦<Current>[,Current]…}
[:INPut]:CURRent:POJump {OFF¦<Current>}
[:INPut]:CURRent:EXTSensor:CONFig<x> {ALL¦<Voltage>[,Voltage]…}
[:INPut]:CURRent:EXTSensor:POJump<x> {OFF¦<Voltage>}
[:INPut]:CURRent:SRATio:ELEMent1<x> {<NRf>}
[:INPut]:RCONfig {<Boolean>¦OFF¦ON} | [6 empty] | Sets or returns the on/off state of the range configuration (valid range selection) feature.
[:INPut]:SCALing |  |  | :SCAL 0;VT:ELEM1 1.000;:SCAL:CT:ELEM1 1.000;:SCAL:SFAC:ELEM1 1.000 | :INPUT:SCALING 0;VT:ELEMENT1 1.000;:INPUT:SCALING:CT:ELEMENT1 1.000;:INPUT:SCALING:SFACTOR:ELEMENT1 1.000 | 0;VT:ELEMENT1 1.000;:INPUT:SCALING:CT:ELEMENT1 1.000;:INPUT:SCALING:SFACTOR:ELEMENT1 1.000 |  | Returns all scaling settings.
[:INPut]:SCALing[:STATe] {<Boolean>¦OFF¦ON}
[:INPut]:SCALing:{VT¦CT¦SFACtor}:ELEMent<x> {<NRf>} |  | <x> | 1(If <Element> is omitted, the element is set to 1)( For the GPM-8310, only set to 1 or omitted)
|  | <NRf> | 0.001 to 9999
[:INPut]:SYNChronize {VOLTage¦CURRent¦OFF}
[:INPut]:FILTer
[:INPut]:FILTer:LINE {<Boolean>¦OFF¦ON}
[:INPut]:FILTer:FREQuency {<Boolean>¦OFF¦ON}
[:INPut]:POVer | ? | bit 1 | Voltage peak over-range is occurring. |  |  |  | Returns the peak over-range information.
|  | bit 2 | Current peak over-range is occurring.
[:INPut]:CRANge | ? | bit 0 | The voltage is at the condition for reducing auto range or less |  |  |  | Sets or returns the check range status.
|  | bit 1 | The voltage exceeds condition for raising the auto range
|  | bit 2 | The voltage is over-range
|  | bit 3 | The voltage is peak over-range
|  | bit 4 | The current is at the condition for reducing the auto range or less
|  | bit 5 | the current exceeds the condition for raising the auto range
|  | bit 6 | the current is in over-range
|  | bit 7 | the current is peak over-range
[:INPut]:ZERO {<Boolean>¦OFF¦ON}
:NUMeric | ? |  | :NUM:FORM ASC;NUM 3;ITEM1 NONE;ITEM2 NONE;ITEM3 NONE;:NUM:LIST:NUM 3;ORD 50;SEL ALL;ITEM1 NONE;ITEM2 NONE;ITEM3 NONE;:NUM:HOLD 0 | :NUMERIC:FORMAT ASCII;NUMBER 3;ITEM1 NONE;ITEM2 NONE;ITEM3 NONE;:NUMERIC:LIST:NUMBER 3;ORDER 50;SELECT ALL;ITEM1 NONE;ITEM2 NONE;ITEM3 NONE;:NUMERIC:HOLD 0 | ASC;3;3NONE;3NONE;3NONE;3;50;ALL;50NONE;50NONE;50NONE;0 | ASCII;3;3NONE;3NONE;3NONE;3;50;ALL;50NONE;50NONE;50NONE;0 | Returns all numeric data output settings.
:NUMeric:FORMat {ASCii¦FLOat} | ? |  |  |  | ASC | ASCII

## Measurement
Page 82 User Manual
Parameter Name | Display Indicator |  | COMMAND PARM
Voltage | Vac | AC | U
Voltage | Vdc | DC
Voltage | Vrms | AC+DC
Voltage | Vmn | V-MEAN
Current | Iac | AC | I
Current | Idc | DC
Current | Irms | AC+DC, V-MEAN
Active Power | P |  | P | Active power P
Peak Power | P+pk |  | PPPeak | Maximum power: P+pk
Peak Power | P-pk |  | PMPeak | Minimum power: P-pk
Apparent Power | VA |  | S | Apparent power S
Reactive Power | VAR |  | Q | Reactive power Q
Power Factor | PF |  | LAMBda | Power factor λ
Phase Angle | DEG |  | PHI | Phase difference Φ
Frequency | AHz |  | FI | Current frequency fI
Frequency | VHz |  | FU | Voltage frequency fV
Voltage Peak | V+pk |  | UPPeak | Maximum voltage: V+pk
Voltage Peak | V-pk |  | UMPeak | Minimum voltage: V-pk
Current Peak | I+pk |  | IPPeak | Maximum current: I+pk
Current Peak | I-pk |  | IMPeak | Minimum current: I-pk
Total Harmonic Distortion | THDI |  | ITHD | Total harmonic distortion of current Ithd
Total Harmonic Distortion | THDV |  | UTHD | Total harmonic distortion of voltage Vthd
Crest Factor | CFV |  | CFU | Voltage factor λ
Crest Factor | CFI |  | CFI | Current factor λ
Mathematical Computation | MATH |  | MATH | Mathematical Computation
Maximum Current Ratio = Crest Factor (CFI) / Power Factor | MCR |  | MCR | Maximum Current Ratio

## Integrator
Pag. 167 User Manual
:DISPlay:INTegrate:ITEM<x> | Sets or returns a Integrate measurement data display item. Refer to page 98 for details.
Syntax | :DISPlay:INTegrate:ITEM<x> <Function>,[,<Element>]
Query Syntax | :DISPlay:INTegrate:ITEM<x>?
Parameter/ | <x> | 1 to 2 (display)
Return parameter | <Function> | {WHP¦WHM¦WHAVG¦AHP¦AHM¦AH AVG¦U¦I}
| <Element> | 1(If <Element> is omitted, the element is set to 1)( For the GPM- 8310, only set to 1 or omitted)
FUNCTION PARAMETER | Function | INDICATOR
WHP | Positive watt hour WP+ | WP+
WHM | Positive watt hour WP- | WP-
WHAVG | Average power | P(avg)
AHP | Positive ampere hour q+ | q+
AHM | Negative ampere hour q- | q-
AHAVG | Average current | q(avg)
U | Voltage V | V
I | Current I | I